January 3, 2008

SPECIAL PROVISION

SP-0026(4)0

# SECTION 03413S

PRECAST CONCRETE STAY-IN-PLACE FORM

### PART 1	GENERAL

#### 1.1	SECTION INCLUDES

A.	Materials and procedures for constructing and placing precast concrete stay-in-place form panels.

#### 1.2	RELATED SECTIONS

- Section 03055S: Portland Cement Concrete

- Section 03211: Reinforcing Steel and Welded Wire

- Section 03412:  Prestressed Concrete

- Section 03310: Structural Concrete

### PART 2	PRODUCTS

#### 2.1	CONCRETE

A.	Use Concrete Class AA(AE) per Section 03055S.

#### 2.2	REIFORCING STEEL

A.	Use reinforcing steel per Section 03211.

2.3	LIFTING INSERTS AND DEVICES

- Design type and location to be and submit to the Engineer for approval.

2.4	PRE-QUALIFICATION

- Fabricator must be pre-qualified as a supplier of pre-cast concrete products in accordance with the “Quality Management Plan:  Precast-Prestressed Concrete Structures.”

### PART 3	EXECUTION

### 3.1	EXECUTION PER SECTION 03412

### END OF SECTION